## Slide 1: Scan System
Kay Kasemir,
Xihui Chen
Jan. 2013

## Slide 2: Automated Experiment Control
“Scan” should be easy
Graphical:
… or script:
Robust execution
Monitor, pause, resume, abort
Open Shutter
Wait for certain beam charge to accumulate
Step motor
X += 1
X < 10 ?
No
Yes
Set motor X = 0
Close Shutter

## Slide 3: EPICS Sequencer?
Compile, link, …
No GUI
No progress, pause, resume
Can do anything
Excellent for “permanent” automation, not for changing scan scenarios

## Slide 4: Scripts (Python, Jython, Scala, …)
No progress, pause, resume
Can do most anything
“Works”, but…

## Slide 5: Allow Anything = Robust
set(setpoint, 30); # Assume OK after 10 seconds wait(10.0);
set(nonexisting_channel, 42);
while (readback < 10) { /* busy loop */ }
set(setpoint, 30); # Wait for readback to match waitForValue(readback, 30);
if (notConnected(…)) reportError(); while (readback < 10) { sleep(1); if (timeout_exceeded) reportError(); }

## Slide 6: APS “Scan Engine”
Claude Saunders, Mitch McCuiston, Brian Tieman, Tim Mooney
“Scan Engine” executes submitted scans
Scan = List of robust commands
“Loop” command
Pause, Resume
Eclipse RCP instead of Spring
Eclipse build instead of Maven
CSS PV instead of new PV layer
Tight CSS GUI integration AND basic script access

## Slide 7: Experiment Control for EPICS
Sample Environment Equipments
Sample Environment Equipments
Sample Environment Equipment
GUI: CSS
Jython, Matlab, …
EPICS IOCs
Scan Server
Channel Access

## Slide 8: BOY Example
1. Configure
2. Start
3. Monitor

## Slide 9: Tabular OPI

## Slide 10: Scan Monitor
List Scans on Server
  Idle: To be executed next
  Running: With progress report
  Finished, Failed: Past runs

## Slide 11: Scan Plot
Plot variables used by scan
Get data from Running or Finished scans

## Slide 12: Scan Editor
Add commands
Set parameters
Open, save
“Undo”
Drag/drop commands or PV names (also as XML text)
Device PVs (or alias) can be picked from beamline-specific configuration

## Slide 13: Simulation Mode
Simulated PV changes
Estimates times

## Slide 14: Monitor, Adjust Live Scan
Active Command
Scan Info
Adjust properties
of live scan

## Slide 15: Scripted Scan
… or use ‘vi’, shell
Jython editor, debugger
Jython console

## Slide 16: Matlab
Create Scan
Monitor
Analyze
(maybe submit follow-up scan)

## Slide 17: Scan Commands
Set
  Set device (PV) to a value.
  Optional wait for read-back, same or other PV, with timeout.
Wait
  Wait until a device (PV) reaches a certain value. Support condition: >, <, ==, >=, <=, increment-by, decrease-by. Optional timeout.
Loop
  Command that performs a loop, optional read-back and timeout.
Log
  Log data for plot in addition to variables used by Set, Wait, Loop
Delay
  Delay for a certain time. Discouraged. Use Wait.
Script
  Execute jython code. Use with care.
Custom commands can be added via Eclipse extension points.

## Slide 18: Performance
Command Execution
  80000 commands/second: Delay 0 sec, Set w/o read-back
  4500 commands/second: Set w/ read-back, Loop
Download scan into Editor
  10000 commands: 1 second
  50000 commands: 15 seconds

## Slide 19: Beam Line Configuration
Required (soft) IOCs
  Used by separate tools to start/stop as required
Scan System Aliases
  Available within scans
Simulation Info
  Slew rates
DAQ info
  Which channels to log with neutron data?

## Slide 20: Overall Picture for SNS
Nexus
Nexus
Sample Environment Equipments
Sample Environment Equipments
Sample Environment
Detector
Instrument Events
Aggregator
Translation Service
Mantid
Nexus
Histogram
Service
Data Stream
GUI: CSS
GUI: CSS
GUI: CSS
EPICS IOCs
Scan Server
Channel Access

## Slide 21: Summary
Scan Server: Experiment Automation
  BOY Panels, Scan Editor, Scripts
  Monitor, Pause, Resume, even adjust

## Slide 22: Scan Server
Submitted scans are queued for execution
  Pre- and Post-Scan commands: open/close shutter, …
CSS/Eclipse ‘headless’ application
‘PV’: EPICS, simulated
  Alias names for PVs as well as plain PV names
Telnet interface: Status, pause, resume, …
Java RMI interface: Submit, status, pause, resume, get data, …
  Scans transferred in XML format
  RMI = Java, Jython, Matlab, Scala, JRuby, …

## Slide 23: Plans, Ideas
RESTful web interface
  Submit scan
  Monitor scans
  Abort scan
  Allows non-Java tools to ‘close the loop’